## BoQ
Quotation Q:AD-18
Sl.No. | Description | Quantity | Unit | Rate | Amount
Glass Section
1 | Supply & Installation of Full Height Slimline glass Partitions systems of 45 x 25 mm thick section on all four sides for the partitions using bottom line/equivalent channel as verticals at the solid partition junction & Horizontals at top & at bottom with snap on option for installating glass with required accessories from FFL upto 2700mm complete in all respect including 10 mm toughened glass all complete.The glass to be butt jointed with 2 to 3 mm , edge chamfer & polishing all around. Distance between two butt jointed glass panels should not to exceed 2 mm.Edges and grooves between glass panels to be filled with clear 3M double side 'T' tape of 6mm to 8mm width .Cost includes loading, unloading, transportation and shifting of glass to 3rd floor clear silicon for joint filling and other required hardwares. Glass partition considered from Finished floor till true ceiling ht. Ht. +/-9'0" Make: Glass: Saint Gobain/Modiguard/Asahi, Frame around - Alloy/Alucraft/Bottomline | 350 | sqft |  | 0
2 | Glass board considered for 6 cabins - Sizes - 4'0"x4'0" Fabricating & fixing writing boards of 8 mm th glass with vinyl back of white colour held on the ply backing on the surface of the partition with stainless steel Struds to hold in place with l or u section fixed all around. Make: Saint-Gobain/Modiguard/Asahi | 96 | sqft |  | 0
3 | Gypsum Partition on GI Metal Stud Frame: Fabricating & fixing full height partitions(overall thickness for both 75mm/100mm. Client will decide whether to go with 75mm or 100mm.) consisting of 35mm x 50mm GI U-section vertical framework (with top and bottom horizontal channels) with all necessary reinforcements required of wood/aluminum, at spacing not exceeding 600mm. Partition framework to be secured to floor, structural ceiling & nearest structural member using 75mm galvanized metal screws & wooden dowels. Rate to include providing and fixing of additional GI/aluminium sections of approved size as per Client drawings. Cost to include additional sections of GI/aluminium/wooden (horizontal & Vertical) as required for fixing of softboard, Glass boards,PLASMA TV and White boards as indicated by the Architect. Cost to also include the necessary provisions required to take Data & Electrical conduiting. Partition framework to be cladded with 12.5mm thk. doublelayered tapered edge gypsum board ( IS-2095/1982 ) on both sides upto 100mm above the false ceiling level in line & level screw fixed with 25mm drywall screws @ 300mm c/c with minimum staggered joints to avoid through joints & finished with proprietary supplied jointing tape & compound as per manufacturer's specification. Surface to be finished with top coat as per manufacturer's specification. Joints to be sand papered to achieve a smooth & seamless finish. Contractor to make provision for all cut outs onto partition framework at required heights / levels with all necessary additional supports as directed. The gap around switch boxes shall be grouted with all weather GE silicone sealant. All exposed edges (horizontal or vertical) to have Beadex (as approved by the Architect) Paper Faced Tape for straight, strong outside/exposed edges, applied with manufacturers recommended joint compound, to be finished with paint of approved colour/finish. Rate to include Backing Material of : Fibre Glass wool (U.P Twiga/ Owens Corning Make) of 48Kg/m3 density, 50 mm thickness, with a NRC of 0.85 minimum(LFA-031 & HFA-0.7) with a covering of Black R P Tissue. The rate to include above ceiling GI framework and single skin gypsum cladding on both sides. Make: Gypsteel of Saint-Gobain Gyproc India, Rockwool India | 882 | sqft |  | 0
4 | Providing & fixing of 12mm thick single leaf toughened glass doors with patch fittings (of Hafele/Kitch/Ozone Make), supported and mounted on Floor Spring of Hafele/Kitch/Ozone make fixtures, 900 wide, +/-2700 ht, door handle in 1½" SS pipe and door stopper on floor and ceiling. The quote must include all the hardware (in brushed SS), edge beading of Hafele/Kitch/Ozone make and SS Push-Pull sign 6" high, COMPLETE. Size - 900mm x+/-2700 (lab cabin doors ) Make: hardware/floor machine : Hafele/Kitch/Ozone Glass: Saint-Gobain/ Modiguard/ Asahi | 7 | nos. |  | 0
5 | Providing & fixing of 12mm thick double leaf toughened glass doors with patch fittings (of Hafele/Kitch/Ozone Make), supported and mounted on Floor Spring of Hafele/Kitch/Ozone make fixtures, 1500 wide, 2700 ht, door handle in 1½" SS pipe and door stopper on floor and ceiling. The quote must include all the hardware (in brushed SS), edge beading of Hafele/Kitch/Ozone make SS Push-Pull sign 6" high, COMPLETE. Size - 1800mm x+/-2700 Make: hardware/floor machine : Hafele/Kitch/Ozone Glass: Saint-Gobain/ Modiguard/ Asahi | 1 | no |  | 0
6 | Supply and installation of 25mm thk. PB running counter with necessery under structure support to the workstation in cabins. Note: shop dwg. Will be shared for approval Make- Ergoline/Victory/Mansoon modulars Ht. 2'6"", depth - 2'0"". | 157 | rft |  | 0
7 | To prepare & finish 3 coats of emulsion paint of approved quality & shade by sand papering the surface, applying one coat of primer, prepare the surface with two coats of full putty, sand papering again, repeating a coat of primer, applying one coat of plastic emulsion paint, touching up with putty & applying two final roller coats of plastic emulsion paint, to internal wall/ceilings masonry concrete surfaces including preparing the surface by cleaning scrapping, smooth filling crevices, scaffolding etc. Make: Birla/Asian/ICI/Nerolac | 2500 | sqft |  | 0
8 | Supply and installation of100x100mm Al. portals next to door for access control provision. Make: ply: Archidply/Greenply /Merino/Centuryply Laminate: Archidply/Greenlam/Formica/Merino | 9 | nos. |  | 0
9 | Supply and Installation of Roller blick openness 3%or 5%? Make: Winfab//Rollite/Vista | 1624 | sqft
10 | Supply and installation of printed Roller blinds in reception area with openness 3%or 5%?. Make: Winfab//Rollite/Vista | 150 | sqft
11 | Supply and installation of modular 6 seater discussion table made of PLB board table top and MS powder coated understructure of approved shade with dump and popup box to accommodate electrical switch and socket. Size: 1600x 1200mm Make: Ergoline/Victory/Mansoon modulars | 1 | no
12 | Removel of Horse shoe seating arrangement in Lab and keeping the material in the assigned plan in the floor | 1 | no
13 | House keeping works, including carting away of construction debris of the project on daily basis using mechanical transport and dumping to a suitable dumping ground upto 15 km away and periodic vacumming of the site. The quote must include cost of complete dust free hand over of site. Please note that the scope of house keepning includes removal of debris created by all the vendors/agencies involved in the project and handing over the site in completely clean condtion to the satisfaction of architect and project manager. | 1 | L.S
14 | Supply and installation of 4' ht. storage in Staff area made of 18mm ply and finished in approved laminate fromostide and white laminate from inside. Make: ply: Archidply/Greenply /Merino/Centuryply Laminate: Archidply/Greenlam/Formica/Merino Hardware/Fittings: GKW, Nettle fold, SS Star Head Screw as per Manufacturers specs | 86 | sqft
15 | Partition near rest room/toilet entrance- made of ply framing with CNC cut designer MDF panel in the centre. Size-2'0" x 9'0" | 2 | nos.
16 | Supply and Installation of Aluminium skirting for gypsum partitionand on ESD floor. 4" ht. Al. skirting for Partition, used as partition protection guard ht" 4", along the partition @4" ht. from floor lvl. Make: Bottomline/Alucraft or equivalent | 1764 | rft
Electrical Work
1 | Supply and installation of electrical ports above lab table. Plug points should be hanging, six plug points ports and 2 internet ports per table of 4 seats (All 5/15A with individual switches). 4 Raw power points (each with 3 sockets + switches 15/5A) universal sockets. Spread in the lab in different places. Note: cost includes required Gi fabricated boxed above table, required cable and cable tray. Make: Polycab/KEI/Anchor/ equivalent Switch plates : Anchor roma/ Scnheider/Havells DB: Legrand/Schneider/ ABB | 1 | L.S
2 | Supply and installation of electrical ports for new Workstations. Half the Nos. for 2 seater tables. 4 Raw + 2 UPS. (All 5/15A with individual switches). Note: cost includes required cable, cable tray, conduits, wires etc. working dwg will be shared for approval during the work. Make: Polycab/KEI/Anchor/ equivalent Switch plates : Anchor roma/ Scnheider/Havells DB: Legrand/Schneider/ ABB | 1 | L.S
3 | Supply and Installation of Earthing - 2 earthing pit considered. Cost includes required cabling fron 3rd floor till the Make: copper plate earthing (custom made) | 1 | L.S
4 | Supply and installation of data ports to lab table Data cable. Make: Dlink/Comscope or equivalent | 15 | nos.
5 | Supply and installation of 2'x2' LED light fixtures of 36w, white color . Replacement of existinf lights with new lights. Make: wipro/Philips/Syska | 24 | nos.
6 | Supply and Installation of Fire detectors in lab cabins | 6 | nos.
7 | Supply and installation of Designer light in reception area(cost includes wiring) | 2 | nos.
8 | Supply and Installation of 2 TR Casset unit in experience zone, cost includes supply of unit, installation, outlet drain pipe, copper pipe and insulation. Make: Bluestar/ Daikin/ Mitsubishi | 1 | no
ESD Safe Area
1 | Supply of 2mm thk. ESD flooring. Size - 600 x 600mm. Color: Grey Surface to ground resistance: 10E6 TO 10E9 ohms Decay time: < 2.0 seconds | 3050 | sqft
2 | Installation of ESD flooring. Includes copper inlay, conductive glue and tile to tile welding | 3050 | sqft
3 | Supply of ESD mat on Lab cabin tables. 3 layered Vinyl Mat Thickness: 2mm +/- 0.1mm Color: Grey Surface to ground resistance: 10E6 TO 10E9 ohms Decay time: < 2.0 seconds Make - statclean/cirq-tech-tako/equivalent | 1 | roll
4 | Installation of 2mm thk. ESD mat on Lab cabin tables Thickness: 2mm +/- 0.1mm Color: Grey | 1 | roll
5 | Supply and installation of ESD table in experience zone. Size: 4'0"x6'0" Make - Mansoon modular/statclean/cirq-tech-tako | 4 | nos.
Storage
1 | Supply of single shutter storage units made of PLB board and finished in approved laminate. Size - 450mm x 450mm x 1200mm ht. Make: Ergoline/Victory/Mansoon modulars | 25 | 1
L1 | Grand Total (Excluding Tax)
GST 18%
Grand Total (Including Tax)
Authorised Signatory

## Innovative Solutions-OPTIONAL
Sl.no. | Description | Quantity | Unit | Rate | Amount
1 | Energy monitoring, optimisation and intelligent air quality monitoring and Controlling System (Centralized) | 1 | no
2 | Facial recognition based biometric entry and time attendance system | 1 | no
3 | UV Disinfection Robots (With sensor control to ensure the devices turn off whenever a person is nearby) | 3 | nos
M1 | Total (Exclusive of Tax)
M2 | GST
M3 | Total Inclusive of Tax
This is optional part

## PQ Format Vendor
Vendor Pre-Qualification
K tech CoE & AI
SL No. | COMPANY |  | DESCRIPTION | DOCUMENTS TO BE ATTACHED
1 | Trade
2 | Registered Name
3 | Registered Address
4 | Business Address
5 | Year of Company Registration/Formation
6 | Type of Firm (Proprietary Firm/ Partnership Firm/ Pvt. Ltd./ Public Ltd./ JV/ MSME/ Others)
7 | Key Position Holder/ Principal/ Owner | Name |  |  | MARK WHAT EVER IS NOT APPLICABLE WITH "NA"
Designation
Mobile & Tel No.
Email
Name
Designation
Mobile & Tel No.
Email
8 | Key Position Holder in <Bangalore> | Name
Designation
Mobile & Tel No.
Email
9 | Turnover (please mention details of last 3 audited years)
10 | Do you have any Workshop Facilities ? (If yes please provide the details) | Outside India
Pan India
<Bangalore>
Outsourced
11 | Is there any history of Environmental/Safety Issues at any of your Ongoing/Completed Projects? (If yes please provide the details of the accident / incident)
12 | Any Ongoing / Past Instance of Litigation? (if yes please attach a details)
13 | Quality Policy of Company
Do you have a QA/QC POLICY? (If yes, please attach a copy)
Do you have a QA/QC PLAN? (If yes, please attach a copy)
Do you have a QA/QC ORGANIZATION STRUCTURE? (If yes, please attach a copy)
14 | Do you have ISO Certification? (If yes, please provide relevant documentary proof)
15 | Prior experience of working with CBRE, JLL, C&W and similar companies? (If yes, please provide the Project details)
16 | Staff strength (only employees of the company, do not consider outsourced staff):-
Key Position Holders (Management Staff) in the firm (GM & above)
Engineering/Technical staff (Pan India)
Engineering/Technical staff <Bangalore>
Other staff
17 | Foreign Collaborators (If any)
18 | Please list all ONGOING PROJECTS at (Bangalore). Client references for the above stated projects - contact person, designation & telephone numbers. PM to mention (type & size of project eg: Hotel/ Mall/ Residential etc.) | PROJECT-1
ONGOING PROJECTS |  | SIZE(sq. Ft.)
BILLING(Million INR)
PMC of the Project (if applicable)
Location:
Client Reference (Name & Contact):
PROJECT-2
SIZE(sq. Ft.)
BILLING(Million INR)
PMC of the Project (if applicable)
Location:
Client Reference (Name & Contact):
PROJECT-3
SIZE(sq. Ft.)
BILLING(Million INR)
PMC of the Project (if applicable)
Location:
Client Reference (Name & Contact):
PROJECT-4
SIZE(sq. Ft.)
BILLING(Million INR)
PMC of the Project (if applicable)
Location:
Client Reference (Name & Contact):
PROJECT-5
SIZE(sq. Ft.)
BILLING(Million INR)
PMC of the Project (if applicable)
Location:
Client Reference (Name & Contact):
19 | Please list top COMPLETED PROJECTS that you would like us to consider while evaluating your firm. Consider parameters like Best Quality, Client Satisfaction, Value/Size of the Project & any special features of the project (Executed during last 2 years) Client references for the above stated projects to be shared - contact person, designation & telephone numbers. PM to mention (type & size of project eg: Hotel/ Mall/ Residential etc.) | PROJECT-1
COMPLETED PROJECTS |  | SIZE(sq. Ft.)
BILLING(Million INR)
PMC of the Project (if applicable)
Project Completion Date :
Client Reference (Name & Contact):
PROJECT-2
SIZE(sq. Ft.)
BILLING(Million INR)
PMC of the Project (if applicable)
Project Completion Date :
Client Reference (Name & Contact):
PROJECT-3
SIZE(sq. Ft.)
BILLING(Million INR)
PMC of the Project (if applicable)
Project Completion Date :
Client Reference (Name & Contact):
PROJECT-4
SIZE(sq. Ft.)
BILLING(Million INR)
PMC of the Project (if applicable)
Project Completion Date :
Client Reference (Name & Contact):
PROJECT-5
SIZE(sq. Ft.)
BILLING(Million INR)
PMC of the Project (if applicable)
Project Completion Date :
Client Reference (Name & Contact):
PROJECT-6
SIZE(sq. Ft.)
BILLING(Million INR)
PMC of the Project (if applicable)
Project Completion Date :
Client Reference (Name & Contact):
PROJECT-7
SIZE(sq. Ft.)
BILLING(Million INR)
PMC of the Project (if applicable)
Project Completion Date :
Client Reference (Name & Contact):
20 | Please specify if you have any other Business Interests which can add value to the Main Trade?
21 | Please declare if your firm is in anyway related to anyone working within CBRE,JLL, C&W, similar companies. (If yes, provide details)
22 | Please declare if your firm has any cross holding in any other Organization/ Trade Categories (either directly or via any relative) - If yes, provide details
23 | Infrastructure/ Equipment/ Machinery details:
24 | PF/ESI details :-
PF Regn No.
GST Regn No.
ESI Reg No.
25 | PAN No. (Also, Pl enclose Photo copy)
26 | Is your organization registered for Professional Tax and Labour Welfare Payment in <KARNATAKA> ? (Mandatory for PrS Projects)
27 | Arbitration Cases
No. of Past cases - If yes, provide details
No. of Present cases - If yes, provide details
28 | Solvency Certificate from Bankers (In Crores Rs)
29 | List any awards, recognitions on previously executed projects
30 | Please declare if your firm, on any occasion was excluded from a tender list or
procurement process ? If YES state the Project, Client, occasion and reasons
for exclusion”.
Occupational Health, Safety and Environment (OHSE)
31 | Does your enterprise have a written company OHSE policy?
32 | Do you have a OHSE Organization structure? If yes, pls attach a copy of the same.
33 | Does your senior management conduct annual review of OHSE implementation within
your organization? If yes attach a copy of recent MOM
34 | Are records maintained for statistics (for example lost time, frequency rates and
severity rates etc.)? If yes, provide the statistics for previous 3 years.
35 | Does your Organization ensure that all plant, machinery and materials (tools, equipment,
appliances and containers etc.) comply with relevant Standards and OHS legislative
requirements? If yes, provide details
36 | Are health and safety inspections at the work place conducted on a regular basis? If yes,
outline regularity
37 | Did the organization face any prosecutions / notices from any state or central statutory
regulatory authorities due to non-conformity of OHSE requirement in the past five years?
(If Yes provide the details)
38 | List out any specific new initiatives if any, of OHSE in your organization in the
previous year
39 | Provide the details of OHSE implementation in the projects mentioned at SerialNo29 above
Give reference/ contact details of the client person in all these projects.